## Setup
SN所在行 | 44
SN所在列 | 4
电压所在列 | 11
线性所在列 | 13
负载所在列 | 14
数据所在列 | 15
结束行 | 103
结束列 | 27

## Conducted EMI
Conducted Emission Test Report
TEST LOCATION |  |  | AcBel |  |  | TEST DEPARTMENT |  |  | ORT
TESTED BY |  |  | Lucas Li |  |  | APPROVED BY |  |  | Dapper
PROJECT NAME | [5 empty] | TEST STAGE |  |  | MP
TEST PERIOD | [5 empty] | TEST CONCLUSION |  |  | Pass
1 | Test Description |  | 1. Test Condition: The test shall be performed on the power supply unit with resister load specified above test compare with EMI requirement. · Basic Standard: Refer to EN 55032 and FCC 47 CFR Part 15 Subpart B · Input voltage: 110Vac/60Hz, and 220Vac/50Hz. · Output Load (per output): 10%, 20%, 50% and 100% of maximum rating load. 2. Pass/Fail Criteria: • Shall meet the reference standard or specified emission limit.
2 | Test Samples |  | 0
| Test Software |  | FW Version: | / |  |  |  | ATE Version: |  | ELEKTRA 4.52.1
| Test Equipment |  | Name/Model: | LISN/ENV216 |  |  |  | Manufacturer: |  | ROHDE-SCHWARZ
|  |  | Name/Model: | Spectrum Analyzer/FPL1003 |  |  |  | Manufacturer: |  | ROHDE-SCHWARZ
|  |  | Name/Model: | Pulse Limiter/ESH3-Z2 |  |  |  | Manufacturer: |  | ROHDE-SCHWARZ
Test Sequence
3 | Test Results
3.1 | Test Result Summary |  | Descriptions | [6 empty] | Comments
All of samples electronic function performance accord to spec. requirement.
3.2 | Test Result Details |  | See Appendices 5.2
4 | Test Conclusion |  | Pass
5 | Appendices
5.2 | Test Setup
5.2 | Test Result Details
No. |  | UNIT INFO. |  |  |  |  | Input Voltage (Vac) | Freq. (Hz) | Phase | Load | EMI Limit Specification (dBuV) |  |  |  | Test Result of Emission Level (dBuV) |  |  | Margin (dBuV) |  |  | Appendix | Comments
|  | S/N | Work Order | Rev. | D/C | NO. |  |  |  |  | Mark No. | Mark Freq. MHz | QP Limit | AVG Limit | Peak Max | QP Max | AVG | Peak | QP | AVG
1 | [5 empty] | 1 | 220 | 50 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[7 empty] | 110 | 60 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
2 |  |  | 0 | 0 | 0 | 2 | 220 | 50 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[7 empty] | 110 | 60 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
3 |  |  | 0 | 0 | 0 | 3 | 220 | 50 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[7 empty] | 110 | 60 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
4 |  |  | 0 | 0 | 0 | 4 | 220 | 50 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[7 empty] | 110 | 60 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
5 |  |  | 0 | 0 | 0 | 5 | 220 | 50 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[7 empty] | 110 | 60 | Line | 10% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 20% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 50% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
[9 empty] | Line | 100% |  |  |  |  | - |  |  | - | 0 | 0
[9 empty] | Neutral | [5 empty] | - |  |  | - | 0 | 0
Remark:
1. Q.P. and AV. are abbreviations of quasi-peak and average individually.
2. “-”This value have no tested, according to standard GB 9254-2008 Annex B, If the peak value under average limit, then not need to measure the QP and AV value.
3. Margin value= Read Value – Limit value